## Slide 1
Two-Stage Ensemble
CXR Classification
Confidence-Aware Multi-Tool Agentic AI for Chest X-Ray Analysis
KAIST AI619 · Spring 2026 · ChatClinic Multimodal Platform
3
Plugins
2
Stage Pipeline
18 -> 14
Label Alignment

## Slide 2
Literature Review ①
TorchXRayVision: A library of chest X-ray datasets and models
Available Weight Presets
densenet121-res224-all
Blended multi-dataset
densenet121-res224-nih
NIH ChestX-ray14
densenet121-res224-chex
CheXpert
resnet50-res512-all
Blended high-res
Strengths & Limitations
+ Validated on large CXR datasets + Fast inference, easy deployment - Confidence unreliable on ambiguous cases - Fixed vocab (NIH-based, 18 labels)
TorchXRayVision is a pytorch library for chest X-ray datasets and models:
18 pathology classes
  Atelectasis
  Cardiomegaly
  Effusion
  …
Datasets: NIH ChestX-ray14, RSNA, CheXpert, MIMIC-CXR datasets
Cohen, Joseph Paul, et al. "TorchXRayVision: A library of chest X-ray datasets and models." International Conference on Medical Imaging with Deep Learning. PMLR, 2022.

## Slide 3
Literature Review ②
BiomedCLIP
"Lung Lesion"
"a large pleural effusion on the right"
Text Encoder
(PubMedBERT)
Zero-Shot CXR Classification with BiomedCLIP
BiomedCLIP alignment against 14 CheXpert labels
  3 prompt templates per label, results averaged: e.g.,
    "chest x-ray with {label}"
    "chest radiograph showing {label}"
    "radiographic evidence of {label}"
Softmax probabilities
Thresholding with C/N, if above threshold then positive
CXR Image
Visual Encoder
(ViT-B/16)
BiomedCLIP
Vision Encoder: ViT-B/16 Text Encoder: PubMedBERT (domain-specific)
Data: PMC-15M (Large-scale text-image data from PubMed Central)
microsoft/BiomedCLIP-PubMedBERT_256-vit_base_patch16_224
Zhang, Sheng, et al. "Biomedclip: a multimodal biomedical foundation model pretrained from fifteen million scientific image-text pairs." arXiv preprint arXiv:2303.00915 (2023).
Image
Text

## Slide 4
Motivation
Why a Single Model Isn't Enough
Is the argmax prediction the most reliable?
Top-score
The actual confidence and margin also matters!
Second or third opinions are needed when the initial model is uncertain
Margin

## Slide 5
Motivation
Why a Single Model Isn't Enough
TorchXRayVision
BiomedCLIP
Approach
Discriminative CNN (supervised)
Contrastive vision-language model
Vocab
18 labels (NIH ChestX-ray14)
14 labels (CheXpert-based)
Strengths
Fast, validated on large CXR datasets
Zero-shot, flexible text prompting
Weaknesses
Fixed vocabulary size
confidence degrades on ambiguous/low-contrast images
Vision-Language domain gap
relative scores can underweight co-existing pathologies
Score type
Sigmoid
Softmax (probabilities, sums to 1)
Combining different models requires label alignment and confidence-aligned routing.

## Slide 6
Confidence-Aware Two-Stage Ensemble
1
Stage 1 — Fast Path
DenseNet-121
If top_score >= 0.35
AND
margin >= 0.10, return immediately
2
Stage 2 — Ensemble
+ ResNet-50
+ MedCLIP
Label alignment + Weighted score fusion
(Triggered only on low-confidence cases)
A
Agentic Integration
LLM Orchestrator reads Stage 1 result and invokes Stage 2 depending on the confidence scores and margins

## Slide 7
Architecture
Two-Stage Inference Flow
SKILL.md — Routing Rule
1. CXR / DICOM uploaded → call @cxr_classification_tool (Stage 1) 2. Review result: If top_score ≥ 0.35 AND margin ≥ 0.10 → confident, report. If top_score < 0.35 OR margin < 0.10 → uncertain, call @cxr_ensemble_tool.
Current implementation:
Stage 2 trigger still hard coded in Python due to lack of API Key. SKILL.md routing rule added chat.py agentic loop is the remaining next step.
Plugins
cxr_classification_tool
TXV DenseNet-121 (tool.json + logic.py)
cxr_classifier_tool
MedCLIP / BiomedCLIP (tool.json + logic.py)
cxr_ensemble_tool
2-stage orchestrator (tool.json + logic.py)
cxr_ensemble_tool
Stage 1 : DenseNet-121
top_score ≥ 0.35 AND margin ≥ 0.10 ?
YES → return
NO → Stage 2
Stage 2 : +ResNet-50 + MedCLIP
Label Alignment → Weighted Score Fusion
Structured JSON → CxrEnsembleCard (UI)

## Slide 8
Agentic Design
LLM-Orchestrated Ensemble — Design Intent
Current — Python Deterministic
DICOM upload
↓
workflows.py
_attach_cxr_ensemble_result()
↓
cxr_ensemble_tool.execute()
_is_low_confidence() ← Python if-else
↓
Stage 2 auto-runs if threshold met
→
Design Intent — LLM Orchestrated
DICOM upload
↓
workflows.py
_attach_cxr_classification_result() (Stage 1 only)
↓
LLM reads: top_score=0.31, margin=0.04
SKILL.md: "uncertain → call Stage 2"
↓
LLM calls cxr_ensemble_tool
+ synthesizes clinical explanation

## Slide 9
Label Alignment
TorchXrayVision Labels (18)
Effusion
Infiltration
Nodule
Mass
Cardiomegaly
Atelectasis
Pneumothorax
Emphysema
Fibrosis
Hernia
MedCLIP Labels (14)
Pleural Effusion
Lung Opacity
Lung Lesion
Cardiomegaly
Atelectasis
Pneumothorax
Consolidation
Pneumonia
Edema
Enlarged Cardiomediastinum
Alignment Mapping
Effusion
→ Pleural Effusion
Infiltration
→ Lung Opacity
Nodule/Mass
→ Lung Lesion
Emphysema
x (excluded)
Fibrosis
x (excluded)
Hernia
x (excluded)
Label
Align

## Slide 10
Engineering
Key Contributions
[1] Double-Sigmoid Bug Fix
Root Cause:
TXV -all blended models store op_threshs in their weights.
With apply_sigmoid=True, sigmoid was applied twice
-> all label scores collapsed to ~0.75 regardless of input.
Fix:
Load all models with apply_sigmoid=False.
Apply sigmoid manually only when op_threshs is absent.
Before: Emphysema 0.750, Pneumothorax 0.748 ... (all ~0.75) After: Cardiomegaly 0.622, Fibrosis 0.540, Hernia 0.013 [OK]
[2] Softmax-Based Scoring
Motivation:
"Use softmax and set threshold to C/N — relative probability
produces a more intuitive and interpretable score distribution."
Threshold: C / N where N = # valid labels, C = 1.5
Positive if score > 1.5x uniform probability
e.g. N=18 -> threshold = 8.3%
Softmax output: Cardiomegaly 30.6% | Lung Opacity 13.7% | Infiltration 12.5% Sigmoid output: Cardiomegaly 0.621 | Fibrosis 0.540 (values cluster near 0.5)

## Slide 11
Results
Weighted Score Fusion & Output
Weighted Score Fusion (Stage 2)
DenseNet-121
Weight: 0.40
ResNet-50
Weight: 0.35
MedCLIP
Weight: 0.25
1. Normalize each model's scores 2. ensemble_score = Σ(normalized_score × weight)
3. Positive if ensemble_score ≥ 0.35
Finding
Ens. Score
Consensus
Positive
Pleural Effusion
0.47
YES
Cardiomegaly
0.38
YES
Lung Opacity
0.22
NO
Atelectasis
0.19
NO
Limitations & Future Work
Softmax underrepresents co-existing pathologies (multi-label tradeoff)
Fusion weights (0.40/0.35/0.25) empirical — need calibration on validation data
Trigger thresholds (0.35/0.10) empirical — held-out CXR set calibration needed
SKILL.md routing rule added (77df1ab) — LLM agentic loop (chat.py) is next step
Emphysema / Fibrosis / Hernia excluded — TXV-only labels
High
High
Mixed
Weak
No quantitative benchmark yet — future: NIH test-set AUC evaluation

## Slide 12
Demo
CxrEnsembleCard — Studio UI
CxrEnsembleCard
Stage
ensemble
Top Finding
Pleural Effusion
Models Used
3 (DenseNet + ResNet + MedCLIP)
⚡ Why ensemble was triggered: top_score = 0.31 (< 0.35) | margin = 0.04 (< 0.10) → DenseNet-121 result was ambiguous
Aligned Findings (all 3 models)
Pleural Effusion
0.47
YES
Cardiomegaly
0.38
YES
Lung Opacity
0.22
NO
Atelectasis
0.19
NO
Pneumonia
0.08
NO
Per-Model Top Findings
DenseNet-121
Cardiomegaly 31%
Lung Opacity 14%
Infiltration 12%
ResNet-50
Pleural Eff. 42%
Cardiomegaly 28%
Atelectasis 11%
MedCLIP
Pleural Eff. 0.61
Cardiomegaly 0.44
Edema 0.22
High
High
Mixed
Weak
Weak

## Slide 13
Conclusion
An Agentic Ensemble for
Reliable CXR Classification
Multi-Tool Plugin Architecture
3 tool plugins in ChatClinic Tool Registry: cxr_classification_tool (TXV) + cxr_classifier_tool (MedCLIP) + cxr_ensemble_tool (Ensemble orchestrator)
Confidence-Aware Routing
Stage 1 fast-path for clear cases; Stage 2 ensemble only on ambiguous ones
Label Alignment
TXV (18) <-> MedCLIP (14) vocabulary bridged via canonical label mapping
Bug Discovery & Fix
TorchXRayVision double-sigmoid found empirically and fixed; scores now meaningful
KAIST AI619 · Spring 2026 · chatclinic-multimodal